## Slide 1: Gasification of wooden biomass: Possible feedstock and their properties
DiBiCoo, 05th August 2021

## Slide 2: Role of biomass within renewables
Renewables contributed to the World energy demand 2018 by around 13.5 %
  Thereof biomass reached 68 %
It is very versatile
  Direct combustion
    Heating
    Lighting
    Transport
    Electricity & heat
  Gasification
    Electricity & heat
    Biomethane
Saisonally storable

## Slide 3: Differences between application techniques depending on the occurrence of oxygen

## Slide 4: Important properties: Main ingredients of different types of biomass

## Slide 5: Important properties: Main ingredients of different types of biomass

## Slide 6: Important properties: Main ingredients of different types of biomass

## Slide 7: Important properties: Ash melting point
Calcium contributes to a higher ash melting point
Potassium and magnesia causes a lower melting point
Straw has a significant lower hemisphere temperature and additionally for the flow temperature
Much more for cereals

## Slide 8: Important properties: Heating value depending on water content
  If not declared most times water content is used
  A high water content causes, besides the loss of heating value, unwanted wet gasifier gas
  Energy demand for heating up water: 0.004 MJ kgH2O-1 °C-1
  Energy demand for vaporization: 2.26 MJ kgH2O-1

## Slide 9: Important properties: Net and gross calorific value depending on type of feedstock
Most difference comes from density and additionally from resin within conifers

## Slide 10: Wood chips from different types of chipper
Wood chips from Drum chipper
Wood chips from Screw chipper
Sieved fine dust
Oversized chips

## Slide 11: Thanks for your attention
DiBiCoo, 05th August 2021

## Slide 12: Exotherm vs Endotherm

## Slide 13: Temperature dependant steps of conversion

## Slide 14: Different pathways to convert the energy within biomass

## Slide 15: Different pathways to convert the energy within biomass

## Slide 16: Different pathways to convert the energy within biomass

## Slide 17: Differentiation of different types of gasification technologies